## BottleVolumes
Bottle # | Bottle Volume
217a | 149.02
218 | 133.3
219a | 140.4
220 | 132.84
221 | 135.28
222 | 134.29
223 | 127.9
224a | 139.64
225a | 142.8
226 | 132.34
227b | 128.62
228 | 130.07
229 | 130.3
230 | 131.49
231 | 130.57
232a | 144.36
233a | 138.06
234a | 143.34
235 | 136.67
236 | 133.4
237a | 142.56
238a | 140.96
239 | 131.38
240 | 132.88
289a | 142.59
290 | 129.98
291a | 138.3
292 | 125.09
293 | 136.39
294a | 145.24
295a | 138.34
296 | 133.24
297 | 132
298 | 131.59
299 | 130.12
300b | 144.01
301 | 129.13
302 | 132.2
303 | 124.27
304a | 143.14
305 | 130.76
306a | 145.66
307 | 131.88
308a | 138.86
309a | 139.44
310 | 128.76
311a | 142.94
312a | 143.66

## Station 0 Cast 1 Calculation
Station #: |  | 0 |  |  |  | Analyst: | [5 empty] | Blank #1 | -0.001 | Std #1 | 0.248
Event #: |  | 1 | [9 empty] | Blank #2 | -0.001 | Std #2 | 0.249
Date/Time: |  | 2018-03-28 22:09 | [9 empty] | Blank #3 |  | Std #3
Pipette Volume (ml) |  |  | 5 |  |  | Standard Normality: |  | 0.01
[12 empty] | Blank | -0.001
[12 empty] | Standard | 0.2485
Depth | Niskin | Temp | Salinity | Sigma T | Bottle # | Bottle Volume | Buret Titer | Oxygen Concentration |  | Comments | CTD Oxygen
(meters) | Bottle | (degrees C) | (psu) | (kg/m3) |  | ml | ml | ml/liter | umol/kg |  | umol/kg
1.534 | 24 | 17.0592 | 33.6867 | 24.4925 | 290 | 129.98 | 0.681 | 5.9603 | 259.8191 | overshot endpoint? | 240.22
40.555 | 19 | 14.876 | 33.5437 | 24.8775 | 291a | 138.3 | 0.694 | 5.7023 | 248.4823 |  | 239.011
101.082 | 17 | 11.2476 | 33.9491 | 25.9147 | 292 | 125.09 | 0.295 | 2.6797 | 116.6534 |  | 101.23
199.895 | 15 | 9.447 | 34.2617 | 26.4713 | 293 | 136.39 | 0.175 | 1.4512 | 63.1382 |  | 57.722
299.899 | 13 | 8.3549 | 34.3411 | 26.7076 | 294a | 145.24 | 0.073 | 0.56156 | 24.4267 |  | 23.634
399.628 | 12 | 7.5932 | 34.3967 | 26.8654 | 295a | 138.34 | 0.031 | 0.2453 | 10.6686 |  | 10.112
498.913 | 8 | 6.6997 | 34.398 | 26.9917 | 296 | 133.24 | 0.031 | 0.25554 | 11.1122 |  | 7.119
599.322 | 5 | 6.1508 | 34.4354 | 27.0941 | 297 | 132 | 0.029 | 0.24089 | 10.4741 |  | 5.229
698.582 | 3 | 5.5027 | 34.4546 | 27.1906 | 298 | 131.59 | 0.034 | 0.28499 | 12.3907 |  | 6.464
798.899 | 1 | 5.0323 | 34.4705 | 27.2594 | 289a | 142.59 | 0.031 | 0.23735 | 10.3185 |  | 8.829

## Station 3 Cast 4 Calculation
Station #: |  | 3 |  |  |  | Analyst: | wruef |  |  |  |  | Blank #1 | 0 | Std #1 | 0.247
Event #: |  | 4 | [9 empty] | Blank #2 | 0.001 | Std #2 | 0.247
Date/Time: |  | 2018-03-30 13:47 | [9 empty] | Blank #3 |  | Std #3
Pipette Volume (ml) |  |  | 5 |  |  | Standard Normality: |  | 0.01
[12 empty] | Blank | 0.0005
[12 empty] | Standard | 0.247
Depth | Niskin | Temp | Salinity | Sigma T | Bottle # | Bottle Volume | Buret Titer | Oxygen Concentration |  | Comments | CTD Oxygen
(meters) | Bottle | (degrees C) | (psu) | (kg/m3) |  | ml | ml | ml/liter | umol/kg |  | umol/kg | Replicates |  | Avg | % SD
2.632 | 24 | 24.2319 | 34.5025 | 23.1962 | 296 | 133.24 | 0.57 | 4.9094 | 214.2792 |  | 205.71 | 1 | 129.1969 | 129.0207 | 0.1762
71.217 | 22 | 17.5906 | 34.3371 | 24.867 | 297 | 132 | 0.342 | 2.9649 | 129.1969 |  | 123.993 | 2 | 128.8445
71.217 | 22 | 17.5906 | 34.3371 | 24.867 | 298 | 131.59 | 0.34 | 2.9568 | 128.8445 |  | 123.993
71.217 | 22 | 17.5906 | 34.3371 | 24.867 | 299 | 130.12 | 0.34 | 2.9909 | 130.3318 |  | 123.993
101.208 | 20 | 14.5165 | 34.535 | 25.7214 | 300b | 144.01 | 0.106 | 0.82557 | 35.9449 |  | 34.952
152.003 | 16 | 13.3639 | 34.7608 | 26.1383 | 289a | 142.59 | 0.038 | 0.28487 | 12.3983 |  | 11.5
201.608 | 14 | 12.2791 | 34.7584 | 26.353 | 290 | 129.98 | 0.004 | 0.013054 | 0.568 |  | 0.755
400.053 | 10 | 9.2094 | 34.5786 | 26.7616 | 291a | 138.3 | 0.005 | 0.019489 | 0.84768 |  | 1.063
499.909 | 8 | 7.8534 | 34.5331 | 26.9364 | 292 | 125.09 | 0.006 | 0.032737 | 1.4237 |  | 0.998
699.508 | 6 | 6.1505 | 34.5147 | 27.158 | 293 | 136.39 | 0.006 | 0.028471 | 1.2379 |  | 1.389
1199.58 | 1 | 3.8098 | 34.5623 | 27.4668 | 294a | 145.24 | 0.645 | 5.0911 | 221.2885 | added acid before precip settled | 20.373

## Station 4 Cast 5 Calculation
Station #: |  | 4 |  |  |  | Analyst: | wruef |  |  |  |  | Blank #1 | 0 | Std #1 | 0.247
Event #: |  | 5 | [9 empty] | Blank #2 | 0.001 | Std #2 | 0.247
Date/Time: |  | 2018-03-30 18:43
Pipette Volume (ml) |  |  | 5 |  |  | Standard Normality: |  | 0.01
[12 empty] | Blank | 0.0005
[12 empty] | Standard | 0.247
Depth | Niskin | Temp | Salinity | Sigma T | Bottle # | Bottle Volume | Buret Titer | Oxygen Concentration |  | Comments | CTD Oxygen
(meters) | Bottle | (degrees C) | (psu) | (kg/m3) |  | ml | ml | ml/liter | umol/kg |  | umol/kg
2.446 | 24 | 24.6096 | 34.4047 | 23.0094 | 297 | 132 | 0.527 | 4.5808 | 199.9738 |  | 206.65
81.163 | 22 | 16.2054 | 33.9689 | 24.9107 | 293 | 136.39 | 0.407 | 3.4166 | 148.8766 |  | 133.872
101.399 | 20 | 15.1692 | 34.2666 | 25.3728 | 299 | 130.12 | 0.173 | 1.5108 | 65.8033 |  | 63.338
111.445 | 19 | 14.7985 | 34.4333 | 25.5825 | 298 | 131.59 | 0.14 | 1.2043 | 52.4433 |  | 49.882
120.879 | 18 | 14.3451 | 34.4748 | 25.7122 | 289a | 142.59 | 0.116 | 0.91485 | 39.8328 |  | 39.258
131.218 | 17 | 13.9381 | 34.6135 | 25.9053 | 294a | 145.24 | 0.06 | 0.45367 | 19.7491 |  | 19.377
151.471 | 16 | 13.5505 | 34.751 | 26.0926 | 292 | 125.09 | 0.039 | 0.33716 | 14.6745 |  | 13.81
450.353 | 9 | 8.4745 | 34.5513 | 26.8568 | 291a | 138.3 | 0.005 | 0.019489 | 0.8476 |  | 0.993
1100.693 | 2 | 4.1478 | 34.552 | 27.4234 | 300b | 144.01 | 0.044 | 0.32982 | 14.3365 |  | 13.922
1200.325 | 1 | 3.8325 | 34.5656 | 27.4671 | 290 | 129.98 | 0.058 | 0.49217 | 21.3924 |  | 20.388

## Station 5 Cast 6 Calculation
Station #: |  | 5 |  |  |  | Analyst: | wruef |  |  |  |  | Blank #1 | 0 | Std #1 | 0.247
Event #: |  | 6 | [9 empty] | Blank #2 | 0.001 | Std #2 | 0.247
Date/Time: |  | 2018-03-30 23:44 | [9 empty] | Blank #3 |  | Std #3
Pipette Volume (ml) |  |  | 5 |  |  | Standard Normality: |  | 0.01
[12 empty] | Blank | 0.0005
[12 empty] | Standard | 0.247
Depth | Niskin | Temp | Salinity | Sigma T | Bottle # | Bottle Volume | Buret Titer | Oxygen Concentration |  | Comments | CTD Oxygen
(meters) | Bottle | (degrees C) | (psu) | (kg/m3) |  | ml | ml | ml/liter | umol/kg |  | umol/kg
2.586 | 24 | 24.7281 | 34.3597 | 22.9398 | 290 | 129.98 | 0.515 | 4.5469 | 198.5081 |  | 205.274
76.26 | 22 | 16.7567 | 34.3092 | 25.0443 | 292 | 125.09 | 0.293 | 2.6803 | 116.7762 |  | 111.013
91.655 | 21 | 15.6469 | 34.4622 | 25.417 | 299 | 130.12 | 0.152 | 1.3247 | 57.6945 |  | 55.056
101.384 | 20 | 14.9184 | 34.5383 | 25.6371 | 293 | 136.39 | 0.119 | 0.98324 | 42.8134 |  | 40.559
110.689 | 18 | 14.8409 | 34.651 | 25.7413 | 297 | 132 | 0.086 | 0.72881 | 31.7315 |  | 30.29

## Station 6 Cast 7 Calculation
Station #: |  | 6 |  |  |  | Analyst: | wruef |  |  |  |  | Blank #1 | 0.001 | Std #1 | 0.246
Event #: |  | 7 | [9 empty] | Blank #2 | 0 | Std #2 | 0.248
Date/Time: |  | 2018-03-31 04:37 | [9 empty] | Blank #3 |  | Std #3
Pipette Volume (ml) |  |  | 5 |  |  | Standard Normality: |  | 0.01
[12 empty] | Blank | 0.0005
[12 empty] | Standard | 0.247
Depth | Niskin | Temp | Salinity | Sigma T | Bottle # | Bottle Volume | Buret Titer | Oxygen Concentration |  | Comments | CTD Oxygen
(meters) | Bottle | (degrees C) | (psu) | (kg/m3) |  | ml | ml | ml/liter | umol/kg |  | umol/kg | Replicates |  | Avg | % SD
2.373 | 24 | 24.3852 | 34.3514 | 23.0362 | 289a | 142.59 | 0.608 | 4.8886 | 213.4055 |  | 205.545 | 1 | 213.4055 | 213.1395 | 0.26595
2.373 | 24 | 24.3852 | 34.3514 | 23.0362 | 298 | 131.59 | 0.565 | 4.9283 | 215.1389 |  | 205.545 | 2 | 212.8736
2.373 | 24 | 24.3852 | 34.3514 | 23.0362 | 291a | 138.3 | 0.588 | 4.8764 | 212.8736 |  | 205.545
53.548 | 23 | 19.2474 | 34.0762 | 24.2547 | 300b | 144.01 | 0.549 | 4.3677 | 190.4428 | air vent leaked | 174.322
55.405 | 22 | 18.9086 | 34.0902 | 24.3515 | 290 | 129.98 | 0.426 | 3.7572 | 163.8075 |  | 154.703
64.092 | 21 | 17.9879 | 34.3095 | 24.7489 | 293 | 136.39 | 0.279 | 2.3351 | 101.767 |  | 117.481
67.723 | 20 | 18.9869 | 34.7873 | 24.865 | 299 | 130.12 | 0.43 | 3.7886 | 165.0904 |  | 159.8
101.838 | 19 | 14.8744 | 34.3746 | 25.5205 | 292 | 125.09 | 0.148 | 1.3427 | 58.4712 |  | 55.775
301.221 | 12 | 10.3982 | 34.6252 | 26.5968 | 297 | 132 | 0.007 | 0.038775 | 1.6868 |  | 2.122

## Station 9 Cast 10 Calculation
Station #: |  | 9 |  |  |  | Analyst: | wruef |  |  |  |  | Blank #1 | 0.001 | Std #1 | 0.248
Event #: |  | 10 | [9 empty] | Blank #2 | 0 | Std #2 | 0.249
Date/Time: |  | 3/331/2018 18:43 | [9 empty] | Blank #3 |  | Std #3
Pipette Volume (ml) |  |  | 5 |  |  | Standard Normality: |  | 0.01
[12 empty] | Blank | 0.0005
[12 empty] | Standard | 0.2485
Depth | Niskin | Temp | Salinity | Sigma T | Bottle # | Bottle Volume | Buret Titer | Oxygen Concentration |  | Comments | CTD Oxygen
(meters) | Bottle | (degrees C) | (psu) | (kg/m3) |  | ml | ml | ml/liter | umol/kg |  | umol/kg | Replicates |  | Avg | % SD
165.076 | 18 | 13.8627 | 34.772 | 26.0446 | 293 | 136.39 | 0.001 | -0.013801 | -0.6007 |  | 0.718 | 1 | 209.6687 | 209.5202 | 0.1485
121.754 | 19 | 15.6443 | 34.1323 | 25.1647 | 292 | 125.09 | 0.249 | 2.2605 | 98.4763 |  | 94.779 | 2 | 209.3717
114.508 | 20 | 17.0066 | 34.1881 | 24.8941 | 297 | 132 | 0.302 | 2.5996 | 113.275 |  | 107.474
109.564 | 21 | 18.036 | 34.1055 | 24.5828 | 300b | 144.01 | 0.437 | 3.4511 | 150.4268 |  | 140.435
104.025 | 22 | 18.5082 | 34.0517 | 24.4247 | 298 | 131.59 | 0.47 | 4.071 | 177.4738 |  | 161.878
102.223 | 23 | 18.8351 | 34.0447 | 24.3374 | 291a | 138.3 | 0.499 | 4.1098 | 179.182 |  | 169.648
2.701 | 24 | 25.5289 | 34.3871 | 22.7169 | 290 | 129.98 | 0.547 | 4.8015 | 209.6687 |  | 203.386
2.701 | 24 | 25.5289 | 34.3871 | 22.7169 | 299 | 130.12 | 0.55 | 4.8226 | 210.5928 |  | 203.386
2.701 | 24 | 25.5289 | 34.3871 | 22.7169 | 289a | 142.59 | 0.6 | 4.7947 | 209.3717 |  | 203.386

## Station 24 Cast 28 Calculation
Station #: |  | 24 |  |  |  | Analyst: | edgar |  |  |  |  | Blank #1 | 0.001 | Std #1 | 0.245
Event #: |  | 28 | [9 empty] | Blank #2 | 0.001 | Std #2 | 0.247
Date/Time: |  | 2018-04-08 | [9 empty] | Blank #3 |  | Std #3
Pipette Volume (ml) |  |  | 5 |  |  | Standard Normality: |  | 0.01
[12 empty] | Blank | 0.001
[12 empty] | Standard | 0.246
Depth | Niskin | Temp | Salinity | Sigma T | Bottle # | Bottle Volume | Buret Titer | Oxygen Concentration |  | Comments | CTD Oxygen
(meters) | Bottle | (degrees C) | (psu) | (kg/m3) |  | ml | ml | ml/liter | umol/kg |  | umol/kg | Replicates |  | Avg | % SD
1003.399 | 1 | 4.4952 | 34.5361 | 27.3731 | 291a | 138.3 | 0.043 | 0.33404 | 14.5206 |  | 15.084 | 1 | 210.8436 | 211.2713 | 0.42761
478.19 | 4 | 8.3878 | 34.5563 | 26.8744 | 292 | 125.09 | 0.004 | 0.0098442 | 0.42813 |  | 0.972 | 2 | 211.6989
427.975 | 7 | 9.0551 | 34.5838 | 26.791 | 289a | 142.59 | 0.003 | -0.0017478 | -0.076019 |  | 0.964
278.852 | 13 | 11.1603 | 34.7083 | 26.5256 | 290 | 129.98 | 0.002 | -0.0090732 | -0.39474 |  | 0.817
229.058 | 15 | 11.6867 | 34.7227 | 26.4386 | 299 | 130.12 | 0.001 | -0.018 | -0.78317 |  | 0.816
80.034 | 23 | 20.2887 | 34.0644 | 23.9761 | 298 | 131.59 | 0.5354 | 4.6932 | 204.6889 |  | 191.966
143.993 | 19 | 13.6934 | 34.6638 | 25.9954 | 297 | 132 | 0.017 | 0.12261 | 5.3369 |  | 6.242
3.02 | 24 | 26.0892 | 33.6684 | 22.0016 | 300b | 144.01 | 0.603 | 4.825 | 210.8436 |  | 201.607
3.02 | 24 | 26.0892 | 33.6684 | 22.0016 | 293 | 136.39 | 0.573 | 4.8446 | 211.6989 |  | 201.607
179.332 | 17 | 12.5067 | 34.7243 | 26.2817 | 294a | 145.24 | 0.004 | 0.0059273 | 0.25793 |  | 1.276

## Winkler vs CTD
Station | Cast | Event | Depth | Winkler | CTD Oxygen
24 | 28 | 28 | 229.058 | -0.78317 | 0.816
9 | 10 | 10 | 165.076 | -0.6007 | 0.718
24 | 28 | 28 | 278.852 | -0.39474 | 0.817
24 | 28 | 28 | 427.975 | -0.076019 | 0.964
24 | 28 | 28 | 179.332 | 0.25793 | 1.276
24 | 28 | 28 | 478.19 | 0.42813 | 0.972
3 | 4 | 4 | 201.608 | 0.568 | 0.755
4 | 5 | 5 | 450.353 | 0.8476 | 0.993
3 | 4 | 4 | 400.053 | 0.84768 | 1.063
3 | 4 | 4 | 699.508 | 1.2379 | 1.389
3 | 4 | 4 | 499.909 | 1.4237 | 0.998
6 | 7 | 7 | 301.221 | 1.6868 | 2.122
24 | 28 | 28 | 143.993 | 5.3369 | 6.242
3 | 4 | 4 | 152.003 | 12.3983 | 11.5
4 | 5 | 5 | 1100.693 | 14.3365 | 13.922
24 | 28 | 28 | 1003.399 | 14.5206 | 15.084
4 | 5 | 5 | 151.471 | 14.6745 | 13.81
4 | 5 | 5 | 131.218 | 19.7491 | 19.377
4 | 5 | 5 | 1200.325 | 21.3924 | 20.388
5 | 6 | 6 | 110.689 | 31.7315 | 30.29
3 | 4 | 4 | 101.208 | 35.9449 | 34.952
4 | 5 | 5 | 120.879 | 39.8328 | 39.258
5 | 6 | 6 | 101.384 | 42.8134 | 40.559
4 | 5 | 5 | 111.445 | 52.4433 | 49.882
5 | 6 | 6 | 91.655 | 57.6945 | 55.056
6 | 7 | 7 | 101.838 | 58.4712 | 55.775
4 | 5 | 5 | 101.399 | 65.8033 | 63.338
9 | 10 | 10 | 121.754 | 98.4763 | 94.779
9 | 10 | 10 | 114.508 | 113.275 | 107.474
5 | 6 | 6 | 76.26 | 116.7762 | 111.013
3 | 4 | 4 | 71.217 | 128.8445 | 123.993
3 | 4 | 4 | 71.217 | 129.1969 | 123.993
3 | 4 | 4 | 71.217 | 130.3318 | 123.993
4 | 5 | 5 | 81.163 | 148.8766 | 133.872
9 | 10 | 10 | 109.564 | 150.4268 | 140.435
6 | 7 | 7 | 55.405 | 163.8075 | 154.703
6 | 7 | 7 | 67.723 | 165.0904 | 159.8
9 | 10 | 10 | 104.025 | 177.4738 | 161.878
9 | 10 | 10 | 102.223 | 179.182 | 169.648
5 | 6 | 6 | 2.586 | 198.5081 | 205.274
4 | 5 | 5 | 2.446 | 199.9738 | 206.65
24 | 28 | 28 | 80.034 | 204.6889 | 191.966
9 | 10 | 10 | 2.701 | 209.5202 | 203.386
24 | 28 | 28 | 3.02 | 210.8436 | 201.607
24 | 28 | 28 | 3.02 | 211.6989 | 201.607
6 | 7 | 7 | 2.373 | 213.1395 | 205.545
3 | 4 | 4 | 2.632 | 214.2792 | 205.71